## Sheet1
| QuestionID | Question | Category | SubCategory
0 | pocforInstrumentReprocessiong | Does the site have an individual identified as the POC for instrument reprocessing? | Leadership | POC Competency
1 | pocCompetency | Does the POC have record of training/competency in instrument reprocessing (reviewer should visually verify)? | Leadership | POC Competency
2 | SOPavailability | Does the site have an instrument reprocessing SOP available (reviewer should visually verify)? | Leadership | POC Competency
3 | leadershipComment | Comments and Recommendations | Leadership | POC Competency
4 | instrumentsRinsed | Were the instruments rinsed or wiped off with a damp gauze to remove gross contamination immediately after the case? | Pre-Cleaning | Instruments Pre-Cleaning
5 | comunicatingInstrumentProblems | Is there a process to flag and communicate instrument problems (e.g., dull scissors or non-locking clamp)? | Pre-Cleaning | Instruments Pre-Cleaning
6 | prolongedInstrumentSoaking | Was prolonged instrument soaking (>10 minutes) avoided? (soaking instruments prior to cleaning is not recommended, however, if it is done, it should be <10 minutes | Pre-Cleaning | Instruments Pre-Cleaning
7 | disinfectantAvoided | If soaking was used, was the use of saline, chlorine, or disinfectant avoided? (plain water or detergent (soap) are ok; please note that soaking in any chlorine solution, a common procedure in the past, should not be done) | Pre-Cleaning | Instruments Pre-Cleaning
8 | instrumentsLeftOpen | Were instruments left open (i.e., jaws not clamped shut) during and after pre-cleaning? (If instruments are clamped shut, closed surfaces and hinges cannot be cleaned which allows organic material to dry and become stuck) | Pre-Cleaning | Instruments Pre-Cleaning
9 | transportationofInstruments | Were instruments transported from point of use to cleaning area in a leak-proof, puncture-proof, and covered container? | Pre-Cleaning | Instruments Pre-Cleaning
10 | instrumentsKeptMoist | Were instruments kept moist the entire time between end of case and cleaning? | Pre-Cleaning | Instruments Pre-Cleaning
11 | PreCleaningComment | Comments and Recommendations | Pre-Cleaning | Instruments Pre-Cleaning
12 | appropriatePPE | Was appropriate PPE (hair cover, eye/mouth protection, impermeable gown, gloves, closed shoes) worn during cleaning? | Cleaning | Instruments Cleaning
13 | cleanContainerWithWater | Was a clean container filled with an appropriate amount of water and detergent to allow complete immersion of the instruments? | Cleaning | Instruments Cleaning
14 | instrumentsCleaned | Were the instruments cleaned using a soft (nylon) bristle brush under the surface of the water (to avoid producing aerosols)? | Cleaning | Instruments Cleaning
15 | hingedInstrumentsOpened | Were all hinged instruments opened during cleaning? | Cleaning | Instruments Cleaning
16 | instrumentsImmersedWithCleanWater | Were instruments immersed or rinsed thoroughly with clean water after cleaning with the brush? (soft (e.g., distilled) water preferable if available to prevent deposits and buildup on instruments) | Cleaning | Instruments Cleaning
17 | instrumentsInspectedAfterCleaning | Were instruments closely inspected after cleaning, prior to drying, to make sure all visible contamination had been removed? | Cleaning | Instruments Cleaning
18 | instrumentsCleanedinArea | Were instruments cleaned in an area that is adequately illuminated? (the inspection area should have adequate illumination (natural light may be adequate,) to see small amounts of contamination) | Cleaning | Instruments Cleaning
19 | instrumentsAirDried | Were instruments air-dried or dried by hand with a clean, non-linting cloth? | Cleaning | Instruments Cleaning
20 | instrumentsCleaningArea | Was the overall flow of instruments in the cleaning area unidirectional from “dirty” to “clean” | Cleaning | Instruments Cleaning
21 | separationofInstruments | If both reusable and single use instruments are used, is there an established way these are separated and distinguished from one another? (Assessor should ask for a description of this process. Single use instruments are typically marked by the words “single use” or the number '2' with a strike through it). | Cleaning | Instruments Cleaning
22 | cleaningComment | Comments and Recommendations | Cleaning | Instruments Cleaning
23 | properFunctionCheck | Were instruments checked for proper functioning, and lubricated as necessary to allow free movement at hinges, prior to packaging? | Packaging | Instruments Packaging
24 | kitsCompleteness | Are kits assembled to ensure completeness and standard contents? (sites often have an instrument list posted in the packaging area as a job aid) | Packaging | Instruments Packaging
25 | permeabletoSterilisation | Is the packaging material permeable to the sterilizing agent (e.g., steam)? Packaging material examples include: double layer of lint-free dense woven cloth (≥140 threads/inch2 ), unwoven cloth permeable to steam (i.e., sterilization wrap), surgical-grade paper (not recycled paper or newspaper), or rigid reusable sterilization containers. | Packaging | Instruments Packaging
26 | packagingEnclose | Does packaging securely enclose items to be sterilized? | Packaging | Instruments Packaging
27 | packagingMantainSterility | Does packaging maintain sterility of contents until opened (doesn’t easily puncture or allow contamination inside)? | Packaging | Instruments Packaging
28 | packageExternalChemicalIndicator | Does every package have an external chemical indicator? (external chemical indicators show when a package has been exposed to one or more sterilization parameters such as temperature, pressure, time; external indicators are used to differentiate processed and non-processed items) | Packaging | Instruments Packaging
29 | packageInternalChemicalIndicator | Does every package contain an internal chemical indicator? (internal chemical indicators show that the instruments themselves, not just the outside of the package, were exposed to one or more sterilization parameters) indicators are used to differentiate processed and non-processed items) | Packaging | Instruments Packaging
30 | packageExpiryDate | Is every package labeled with sterilization date and/or expiry date, contents (e.g., “vmmc kit”), and load number? | Packaging | Instruments Packaging
31 | packagingComment | Comments and Recommendations | Packaging | Instruments Packaging
32 | steamSterilisation | Is steam sterilization in use? If yes, answer the following: | Sterilization | Instruments Sterilization
33 | autoclaveTraining | Has the person responsible for operating the autoclave received training on how to do so? (Sometimes facility staff, not VMMC staff, run the autoclave. This question explores presence and type of training they received. Please check documentation (e.g., training certificate) if available.) | Sterilization | Instruments Sterilization
34 | cycleTemperature | Is cycle temperature either pre-set by load type or, if manually set, to at least 121⁰C ? Cycle times will vary (3-18 minutes) depending on temperature (121⁰C - 135⁰C), please refer to manufacturer’s instructions for use, if available, to check that manually set time is correct for temp. | Sterilization | Instruments Sterilization
35 | cycleParametersinLogBook | Are the following cycle parameters recorded in a logbook? | Sterilization | Instruments Sterilization
36 | autoclaveSteamContact | Is the autoclave loaded in a manner to ensure steam contact and penetration? (not overloaded, packages away from chamber walls, rigid containers not stacked unless validated by manufacturer for this configuration, steri-peel packages on edge with multiple packages placed paper-to-plastic, non perforated containers placed on edge) | Sterilization | Instruments Sterilization
37 | correctCycleParametersMet | Correct cycle parameters met? (if pre-set parameters, could just mean the ‘failure’ indicator did not light up) indicators are used to differentiate processed and non-processed items) | Sterilization | Instruments Sterilization
38 | externalIndicatorsAprropriatelyChanged | External indicators appropriately changed? | Sterilization | Instruments Sterilization
39 | noVisibleMoisture | No visible signs of moisture? (no dampness, droplets, or puddles on or within a package) | Sterilization | Instruments Sterilization
40 | noCompromisedIntegrity | No visible signs of compromised package integrity? | Sterilization | Instruments Sterilization
41 | bowie-dickTest | Bowie-Dick test (measures air removal in pre-vacuum autoclaves, not used in gravity displacement autoclaves; ideally performed daily) | Sterilization | Instruments Sterilization
42 | biologicalIndicator | Biological indicators (please make note how often these are used (ideally should be daily, but at least weekly) | Sterilization | Instruments Sterilization
43 | distilledWater | Is distilled water being used in the autoclave? (most autoclave manufacturers recommend use of distilled water to avoid mineral deposits which can decrease useable life of the autoclave) | Sterilization | Instruments Sterilization
44 | distilledWaterInventory | Over the past 6 months has the distilled water inventory been maintained to ensure uninterrupted services? | Sterilization | Instruments Sterilization
45 | annualRoutineMaintenance | Is there documentation of at least annual routine maintenance performed by a technician? (if “no” then please ask follow-up question about why this was not done) | Sterilization | Instruments Sterilization
46 | flowofInstrumentsinSterilisationArea | Was the overall flow of instruments in the sterilization area unidirectional from “non-sterile” to “sterile”? | Sterilization | Instruments Sterilization
47 | indicatorswithinExpirationDates | Are all biologic and chemical indicators within their expiration dates? | Sterilization | Instruments Sterilization
48 | reprocessingofEquipment | Over the past 6 months has the reprocessing equipment and supplied inventory been maintained to ensure uninterrupted services? | Sterilization | Instruments Sterilization
49 | copy-1-of-reprocessingofEquipment | Over the past 6 months has the reprocessing equipment and supplied inventory been maintained to ensure uninterrupted services?1 | Sterilization | Instruments Sterilization
50 | sterilisationComment | Comments and Recommendations | Sterilization | Instruments Sterilization
51 | is_the_portion_of_the_transport_vehicle_where_instrument_containers_are_pla | Is the portion of the transport vehicle where instrument containers are placed completely enclosed? | External Transportation | Instruments Transportation
52 | markingofContainers | Are the containers for sterile and non-sterile instruments clearly marked? | External Transportation | Instruments Transportation
53 | interSiteInstrumentExchangeSy | Is a system in place to track movement of instrument kits between sites, and know where they are at all times? (for example, to find where all kits sterilized on x date in cycle number y are located; if one kit from a specific load is noted to have problems, it will be important to immediately identify all the other kits that were in the same load). | External Transportation | Instruments Transportation
54 | transportationComment | Comments and Recommendations | External Transportation | Instruments Transportation
55 | are_freshly_sterilized_instruments_allowed_to_cool_to_room_temperature_befo | Are freshly sterilized instruments allowed to cool to room temperature before they are used for surgery? | Storage | Instruments Storage
56 | firstInfirstOut | Is a practice of first in first out used to ensure that older kits (by date of sterilization) are used first? | Storage | Instruments Storage
57 | inventoryMonitoringSystem | Is there an inventory monitoring system that tracks the movement of kits in and out of the storage or sterilization area? | Storage | Instruments Storage
58 | comments_and_recommendations | Comments and Recommendations | Storage | Instruments Storage